## COVER
Windhorst Commons
Bid Schedule
SUMMARY
Amount
| Earthwork |  | 0
| Paving |  | 0
| Water |  | 0
| Wastewater |  | 0
| Drainage |  | 0
|  | TOTAL | 0
NOTES:
Contractor to verify all quantities. Quantities provided in attached Bid Tabs are for reference purposes only and for determining unit pricing in the event there is a need for a change order. Bid Proposals must include Bid Tabs completed and tabulated to be accepted and considered during review of bids.

## Earthwork
EARTHWORK
| Vendor/pricing | Item | Quantity | Unit | Unit Price | Total
1 |  | Mobilization | 1 | LS |  | 0
2 |  | Silt Fence | 1930 | LF |  | 0
4 |  | Clearing and Grubbing Site | 4.36 | AC |  | 0
5 |  | Demo (Fence, Bridge, etc.) | 1 | LS |  | 0
6 |  | Pond Excavation and Placement | 1650 | CY |  | 0
7 |  | Import Fill | 9120 | CY |  | 0
8 |  | Rough Grading (Pads, Roads, Open Space etc) | 2.95 | AC |  | 0
9 |  | Fine Grading | 1.03 | AC |  | 0
10 |  | Sod - Pond Slopes | 2147 | SY |  | 0
11 |  | Sod - Bahia (slopes, berms, buffers) | 1952 | SY |  | 0
12 |  | Seed and Mulch Disturbed Areas | 1.92 | AC |  | 0
13 |  | Dewatering | 1 | LS |  | 0
[5 empty] | TOTAL = | 0

## Paving
ROADWAYS AND PAVEMENT
| Vendor/Pricing | Item | Quantity | Unit | Unit Price | Total
1 |  | 1.5" Type SP-9.5 Asphalt (1 Lift) | 2281.8889 | SY |  | 0
2 |  | 6" Crushed Concrete Base (min. 150 LBR) | 2281.8889 | SY |  | 0
3 |  | 12" Stabilized Subgrade (LBR 40) | 2738.2667 | SY |  | 0
4 |  | Miami Curb | 1278 | LF |  | 0
5 |  | Type D Curb | 135 | LF |  | 0
6 |  | Type F Curb | 298 | LF |  | 0
7 |  | 4" Concrete Sidewalk (5' wide) | 5305 | SF |  | 0
8 |  | Sod Behind Curbs (2ft) | 380.2222 | SY |  | 0
9 |  | ADA Ramps | 4 | EA |  | 0
10 |  | Signage & Striping | 10000 | LS |  | 0
[5 empty] | Total | 0

## Water
WATER DISTRIBUTION SYSTEM
| Vendor/Pricing | Item | Quantity | Unit | Unit Price | Total
1 |  | 4" PVC Water Main | 161 | LF |  | 0
2 |  | 6" PVC Water Main | 471 | LF |  | 0
3 |  | 6" DIP Water Main | 5 | LF |  | 0
4 |  | 6" Gate Valve | 1 | EA |  | 0
5 |  | 16" x 6" Tapping Valve and Sleeve | 1 | EA |  | 0
6 |  | 3/4" PE Water Main | 1 | LF |  | 0
7 |  | 3/4" Reduced Pressure Backflow Preventer | 1 | EA |  | 0
8 |  | 4" Reducer | 1 | EA |  | 0
9 |  | 4" Permanent Blowoff | 1 | EA |  | 0
10 |  | Short Side Water Service | 14 | EA |  | 0
11 |  | Long Side Water Service | 9 | EA |  | 0
12 |  | Fire Hydrant Assembly | 1 | EA |  | 0
13 |  | 30" Heavy Wall Split Pipe Steel Casing | 53 | LF |  | 0
14 |  | 12" Heavy Wall Split Pipe Steel Casing | 94 | LF |  | 0
15 |  | Temporary Sample Point | 2 | EA |  | 0
16 |  | Chlorination & Testing | 1 | LF |  | 0
[5 empty] | Total | 0

## Wastewater
WASTEWATER
| Vendor/Pricing | Item | Quantity | Unit | Unit Price | Total
1 |  | 8" PVC Sewer (0'-12) | 366 | LF |  | 0
2 |  | 8" PVC Sewer (10'-12') | 211 | LF |  | 0
3 |  | 8" PVC Sewer (12'-14') | 22 | LF |  | 0
4 |  | Manhole (0'-6') | 2 | EA |  | 0
5 |  | Manhole (10'-12') | 2 | EA |  | 0
6 |  | 4" PVC Forcemain | 66 | LF |  | 0
7 |  | 12" Steel Casing | 25 | LF |  | 0
8 |  | 6"x4" Tapping Sleeve | 1 | EA |  | 0
9 |  | 4" Plug Valve | 1 | EA |  | 0
10 |  | Single Sewer Service | 3 | EA |  | 0
11 |  | Double Sewer Service | 10 | EA |  | 0
12 |  | Lift Station | 1 | EA |  | 0
13 |  | Pressure Test | 66 | LF |  | 0
14 |  | Open Cut 4" Force Main | 36 | LF |  | 0
15 |  | Sewer Main Infiltration Test | 599 | LF |  | 0
16 |  | Manhole Exfiltration Test | 4 | EA |  | 0
17 |  | Television Inspection | 599 | LF |  | 0
[5 empty] | Total | 0

## Drainage
STORM DRAINAGE
| Vendor/Pricing | Item | Quantity | Unit | Unit Price | Total
1 |  | 15" RCP | 122 | LF |  | 0
2 |  | 18" RCP | 222 | LF |  | 0
3 |  | 18" MES | 2 | EA |  | 0
4 |  | Type I Curb Inlet | 3 | EA |  | 0
5 |  | Type C Grate Top Inlet | 1 | EA |  | 0
6 |  | Storm Manhole | 2 | EA |  | 0
7 |  | Soil Tracking Prevention Device | 1 | EA |  | 0
8 |  | TV Inspection | 344 | LF |  | 0
[5 empty] | Total | 0
91.16
32.88
33.74
182
157.78